## Start here
EVOLVE Planner: data guide
What this file tells you: which data the planner can take, in which format and resolution, and where to get each item. Facts about data services were checked on their official pages on 8 October 2026; the 'Checked' column says where that was not possible.
Sheets
Hourly series – the time series you can upload, what each one is for and where to get it.
Upload format – the exact layout of the file you upload, with a filled example and the rules the app applies.
Rows by resolution – how many rows a one-year file must have at each time step.
Project inputs – every number and choice the planner asks for, with its unit, default and a source to look up.
Site and infrastructure – where to find depth, sea area, grid points, hydrogen networks and constraints.
Data sources – every service named in this guide: resolution, coverage, access, licence, link.
Built-in downloads – what the app can fetch for you from coordinates, and how it converts it.
The three rules for hourly data
1. One calendar year only. The planner reduces that year with topological data analysis and checks the design on all of its hours; it never mixes years.
2. Hourly values in UTC, starting 1 January 00:00. 30, 15, 10 and 5-minute files are accepted and averaged to hours; a leap year loses 29 February, so every year has 8,760 hours.
3. Capacity factors are fractions between 0 and 1 (percent is detected and divided by 100); prices in EUR/MWh; demand in MW (electricity) and kg/h (hydrogen).
Colour key
Yellow cells in 'Upload format' and 'Rows by resolution' are the ones you change. Everything else is reference.

## Hourly series
One calendar year per series. Leave a column empty if you do not need it. Column names are matched without regard to case; the alternative names the app also accepts are listed in 'Upload format'.
Series | Column name in your file | Unit | Needed when | What the planner does with it | Where to get it | How to prepare it | Main link | Second link
Wind capacity factor | wind_cf | fraction of rated power (0–1) | Always | Hourly output of 1 MW of offshore wind after losses; multiplied by the wind capacity the model chooses. | 1) Built in: ERA5 wind at the island via Open-Meteo, IEA 15 MW curve (Data step → Download by coordinates). 2) Renewables.ninja wind (MERRA-2). 3) ERA5 from the Copernicus CDS. 4) NEWA mesoscale (3 km, 30-min). 5) Your own measured or modelled farm output. | Wind speed at hub height → turbine power curve → divide by rated power → subtract wake and electrical losses (10–15 % is common). Use ERA5, not ERA5-Land, offshore: ERA5-Land has no 100 m wind. | https://open-meteo.com/en/docs/historical-weather-api | https://www.renewables.ninja
Solar (floating PV) capacity factor | pv_cf | fraction of rated power (0–1) | When floating PV is allowed | Hourly output of 1 MW of floating PV; multiplied by the PV capacity the model chooses. | 1) Built in: ERA5 irradiance via Open-Meteo through pvlib. 2) PVGIS hourly series (SARAH-3 or ERA5, 2005–2023; land and up to 25 km offshore). 3) Renewables.ninja PV. | Irradiance on the module plane → PV model with cell temperature → divide by rated power → losses. Leave the column empty and switch floating PV off if it is not an option. | https://re.jrc.ec.europa.eu/pvg_tools/en/ | https://www.renewables.ninja
Day-ahead electricity price | price_eur_mwh | EUR/MWh | Merchant or CfD revenue | Revenue per MWh sold in each hour; negative prices are kept (CfD pays nothing in negative hours). | 1) Built in: Energy-Charts API by bidding zone. 2) ENTSO-E Transparency Platform (free token). 3) Energi Data Service (Denmark, free). 4) Nord Pool or EPEX data (paid). | Since 1 October 2025 the European day-ahead market clears in 15-minute steps: upload the 15-minute file as it is (the app averages each hour) or average to hours yourself. | https://api.energy-charts.info | https://transparency.entsoe.eu
Electricity demand profile | elec_demand_mw | MW | Only for 'follow my hourly profile' electricity delivery | The power the system must deliver in each hour. | Your offtaker's metered load; ENTSO-E actual total load (national shape, scale to your annual volume); RTE éCO2mix / ODRÉ for France; Open Power System Data (2015–mid 2020, frozen). | For a national shape: divide each hour by the national annual total and multiply by your annual volume. | https://transparency.entsoe.eu | https://odre.opendatasoft.com
Hydrogen demand profile | h2_demand_kgh | kg/h | Only for 'follow my hourly profile' hydrogen delivery | The hydrogen the system must deliver in each hour. | Your offtaker (refinery, ammonia or methanol plant, port, bus depot). No public hourly hydrogen demand exists; for industry a constant flow is the usual assumption (use 'constant flow every hour' instead). | kg/h = annual tonnes × 1,000 / 8,760 for a flat profile.

## Upload format
Upload format: one sheet named TimeSeries (Excel) or one CSV file, one row per time step
• File types: .xlsx (sheet 'TimeSeries', or the first sheet) or .csv (comma or semicolon separated, detected automatically). Use a full stop as the decimal mark.
• Header row: exactly the column names below, in any order. The 'hour' and 'time_utc' columns are for you; the app ignores them.
• Rows: one calendar year from 1 January 00:00 UTC. See 'Rows by resolution' for the row count at each time step.
• Missing values: short gaps are filled by linear interpolation and reported. Do not fill gaps with zeros.
• Capacity factors above 1 and up to 100 are read as percent and divided by 100; values are then limited to 0–1.
• Also accepted column names: wind (wind_cf); pv, solar, solar_cf (pv_cf); price, el_price, day_ahead (price_eur_mwh); elec_demand, demand_mw, load_mw (elec_demand_mw); h2_demand, h2_kgh (h2_demand_kgh).
• The full inputs workbook (sidebar → Save all inputs) has this TimeSeries sheet plus an Inputs sheet with every project input; uploading it restores a whole project.
• Example below: the first 48 hours of the Belle-Île 2019 series shipped with the app (yellow = your data).
hour | time_utc | wind_cf | pv_cf | price_eur_mwh | elec_demand_mw | h2_demand_kgh
1 | 2019-01-01 00:00:00 | 0.04315 | 0 | 46.27
2 | 2019-01-01 01:00:00 | 0.05279 | 0 | 39.78
3 | 2019-01-01 02:00:00 | 0.05705 | 0 | 27.87
4 | 2019-01-01 03:00:00 | 0.05279 | 0 | 23.21
5 | 2019-01-01 04:00:00 | 0.05513 | 0 | 22.64
6 | 2019-01-01 05:00:00 | 0.06937 | 0 | 20.9
7 | 2019-01-01 06:00:00 | 0.06991 | 0 | 26.54
8 | 2019-01-01 07:00:00 | 0.05609 | 0 | 25
9 | 2019-01-01 08:00:00 | 0.04567 | 0 | 25
10 | 2019-01-01 09:00:00 | 0.02942 | 0.03586 | 34.64
11 | 2019-01-01 10:00:00 | 0.01918 | 0.10373 | 41.03
12 | 2019-01-01 11:00:00 | 0.00753 | 0.16875 | 48.97
13 | 2019-01-01 12:00:00 | 0.00548 | 0.16578 | 41.06
14 | 2019-01-01 13:00:00 | 0.01995 | 0.20875 | 37.95
15 | 2019-01-01 14:00:00 | 0.05754 | 0.16445 | 33.42
16 | 2019-01-01 15:00:00 | 0.0886 | 0.12057 | 39.8
17 | 2019-01-01 16:00:00 | 0.09111 | 0.03662 | 44.29
18 | 2019-01-01 17:00:00 | 0.0849 | 0.00269 | 62.65
19 | 2019-01-01 18:00:00 | 0.13066 | 0 | 65.56
20 | 2019-01-01 19:00:00 | 0.17573 | 0 | 61.27
21 | 2019-01-01 20:00:00 | 0.2177 | 0 | 57.41
22 | 2019-01-01 21:00:00 | 0.21258 | 0 | 58.65
23 | 2019-01-01 22:00:00 | 0.27306 | 0 | 54.91
24 | 2019-01-01 23:00:00 | 0.2177 | 0 | 53.11
25 | 2019-01-02 00:00:00 | 0.14845 | 0 | 45.87
26 | 2019-01-02 01:00:00 | 0.06151 | 0 | 39.15
27 | 2019-01-02 02:00:00 | 0.01146 | 0 | 25.84
28 | 2019-01-02 03:00:00 | 0.03535 | 0 | 28.36
29 | 2019-01-02 04:00:00 | 0.10916 | 0 | 30.72
30 | 2019-01-02 05:00:00 | 0.15958 | 0 | 51.1
31 | 2019-01-02 06:00:00 | 0.20154 | 0 | 58.37
32 | 2019-01-02 07:00:00 | 0.19467 | 0 | 56.82
33 | 2019-01-02 08:00:00 | 0.27534 | 0 | 57.44
34 | 2019-01-02 09:00:00 | 0.37797 | 0.03222 | 61.09
35 | 2019-01-02 10:00:00 | 0.36697 | 0.11415 | 63.63
36 | 2019-01-02 11:00:00 | 0.38777 | 0.19625 | 62.8
37 | 2019-01-02 12:00:00 | 0.39022 | 0.19159 | 58.65
38 | 2019-01-02 13:00:00 | 0.35477 | 0.08152 | 55.64
39 | 2019-01-02 14:00:00 | 0.31976 | 0.10194 | 56.72
40 | 2019-01-02 15:00:00 | 0.33416 | 0.09101 | 62.19
41 | 2019-01-02 16:00:00 | 0.35355 | 0.05717 | 67.1
42 | 2019-01-02 17:00:00 | 0.29964 | 0.00362 | 69.3
43 | 2019-01-02 18:00:00 | 0.32815 | 0 | 69.25
44 | 2019-01-02 19:00:00 | 0.38409 | 0 | 63.43
45 | 2019-01-02 20:00:00 | 0.43775 | 0 | 55.64
46 | 2019-01-02 21:00:00 | 0.4665 | 0 | 55.97
47 | 2019-01-02 22:00:00 | 0.50717 | 0 | 54.31
48 | 2019-01-02 23:00:00 | 0.54369 | 0 | 47.03

## Rows by resolution
Rows a one-year file must have at each time step (the app averages sub-hourly data to hours)
Time step | Steps per hour | Rows, normal year | Rows, leap year | Accepted
60 minutes (hourly) | 1 | 8760 | 8784 | yes
30 minutes | 2 | 17520 | 17568 | yes
15 minutes | 4 | 35040 | 35136 | yes
10 minutes | 6 | 52560 | 52704 | yes
5 minutes | 12 | 105120 | 105408 | yes
Hours per normal year: 8,760 = 365 × 24. Leap year: 8,784; the app removes 29 February (24 hours × steps per hour) so every year has 8,760 hours.

## Project inputs
Every input is also in the app's inputs workbook (sheet 'Inputs', column 'value'). 'Placeholder until Step 3' marks costs that will be replaced by referenced values.
Group | Key (Inputs sheet) | Input | Unit | Default in the app | Options | Placeholder until Step 3 | Shown under | Help | Where to look it up
Use case | use_case | What the island supplies | - | Hybrid | Power-led, Hydrogen-led, Hybrid |  |  | Power-led: electricity to the grid, hydrogen only as internal storage. Hydrogen-led: hydrogen to an offtaker, electricity optional. Hybrid: both contracts. | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | annual_demand_mwh | Electricity to deliver per year | MWh/yr | 200000 |  |  |  | Contracted electricity at the grid point. Ignored in merchant and CfD modes, where volume is free. | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | annual_h2_demand_kg | Hydrogen to deliver per year | kg/yr | 2000000 |  |  |  |  | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | elec_delivery | Electricity delivery profile | - | annual | annual, firm, profile |  |  | annual: only the yearly volume counts. firm: the same power every hour. profile: follow the hourly profile uploaded with the time series (column elec_demand_mw). | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | h2_delivery | Hydrogen delivery profile | - | annual | annual, firm, profile |  |  | As for electricity; profile uses column h2_demand_kgh. | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | elec_revenue | Electricity revenue | - | ppa | ppa, merchant, cfd |  |  | ppa: fixed volume at the PPA price. merchant: every MWh sold at the hourly day-ahead price. cfd: two-sided contract for difference, strike price paid in hours with non-negative price (French offshore scheme). | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | ppa_price_eur_mwh | PPA price | EUR/MWh | 100 |  |  |  |  | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | cfd_strike_eur_mwh | CfD strike price | EUR/MWh | 86.45 |  |  |  | Bretagne Sud 1 (Pennavel) award, 15 May 2024: EUR 86.45/MWh. | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | h2_price_eur_kg | Hydrogen sales price | EUR/kg | 6 |  |  |  |  | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | sell_surplus | Sell the other carrier as a by-product | - | False |  |  |  | Power-led: sell hydrogen made from surplus power at the hydrogen price. Hydrogen-led: sell surplus electricity (merchant or CfD). Off: only the main product earns revenue. | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Use case | grid_injection_cap_mw | Maximum grid injection | MW | 100 |  |  |  | Firm capacity of the grid connection. | Your offtake contracts and project brief. CfD strikes: national tender results (e.g. AO5 award for Bretagne Sud). PPA prices: your counterparty or a market price index.
Site | site_name | Site name | - | My floating island |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | site_lat | Island latitude | deg | 47.38 |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | site_lon | Island longitude | deg | -3.55 |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | grid_name | Grid connection point | - | Grid substation |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | grid_lat | Grid point latitude | deg | 47.64 |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | grid_lon | Grid point longitude | deg | -3.16 |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | h2_name | Hydrogen offtake point | - | Hydrogen offtaker |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | h2_lat | Hydrogen offtake latitude | deg | 47.27 |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | h2_lon | Hydrogen offtake longitude | deg | -2.2 |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | route_method | How route lengths are found | - | sea route | sea route, straight line |  |  | sea route: shortest path through the sea on the bundled 1 km coastline (around islands and headlands) from the island to the coast nearest the onshore point, plus a straight onshore leg. straight line: great-circle distance x routing factor. An entered route length below always wins. | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | routing_factor | Routing factor (route / straight line) | - | 1.2 |  |  |  | Used with the straight-line method. Cables and pipes rarely run straight; 1.1-1.3 is typical. | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | link_distance_override_km | Export cable route length (0 = computed) | km | 0 |  |  |  | Enter the routed length from a cable route study if you have it; it replaces the computed length (to the grid point, or to the hub when the island connects to a hub). | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | pipe_distance_override_km | Pipeline route length (0 = computed) | km | 0 |  |  |  | Routed pipeline length if known (to the offtake point, or to the tie-in point). | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | avg_water_depth_m | Water depth at the island | m | 75 |  |  |  | Up to the fixed/floating threshold the island is bottom-fixed; deeper it floats. | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | fixed_floating_depth_m | Fixed/floating threshold depth | m | 60 |  |  | advanced |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | decentralized_h2 | Turbine-level electrolysis (no power cable) | - | False |  |  |  | Floating, decentralised concept (Dolphyn type): hydrogen made in each turbine, pipeline export only. | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | existing_pipeline_available | Existing gas pipeline on the route can be repurposed | - | False |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | sea_area_km2 | Usable sea area | km2 | 38 |  |  |  | Polygon available for turbines and floating PV. | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | wind_density_mw_km2 | Wind power density | MW/km2 | 6.3 |  |  |  | Bretagne Sud: 250 MW on 40 km2 and 500 MW on 75 km2 (State brochure, 2026). | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | pv_density_mw_km2 | Floating PV density | MW/km2 | 60 |  | yes |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | deck_area_max_m2 | Island deck area available | m2 | 200000 |  |  |  | Area for electrolysers, compressors, fuel cells, batteries and tanks on the island. | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Site | area_onshore_max_m2 | Onshore plot area | m2 | 1000000 |  |  |  |  | Depth: EMODnet Bathymetry DTM 2024 (~115 m grid) or GEBCO_2026 (15 arc-second). Sea area: national maritime spatial plan or partner GIS. Grid and hydrogen points: TSO, OpenInfraMap, ENTSOG TYNDP maps.
Connections | elec_connection | Electricity connection | - | direct | direct, hub, choose |  |  | Direct: own export cable to the onshore grid point. Hub: short cable to a nearby offshore substation or cable with spare capacity (its owner carries the power to shore for an access fee). Choose: the model sizes both and keeps the cheaper. | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | hub_name | Nearby offshore substation or cable | - | Nearby offshore substation |  |  |  |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | hub_lat | Hub latitude | deg | 47.42 |  |  |  |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | hub_lon | Hub longitude | deg | -3.45 |  |  |  |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | hub_spare_mw | Spare capacity at the hub | MW | 100 |  |  |  | Capacity the hub owner can offer; it caps the power the island can export through the hub. | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | hub_voltage_kv | Hub voltage | kV | 225 |  |  |  | AC voltage of the hub; sets the rating of the cable from the island. | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | hub_access_fee_eur_mw_yr | Hub access fee | EUR/MW/yr | 42000 |  | yes |  | Annual charge per MW of connection for using the hub and its link to shore. | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | export_voltage | Export cable voltage | - | auto | auto, 66 kV AC, 132 kV AC, 220 kV AC, 275 kV AC, 320 kV DC, 525 kV DC |  |  | Auto: 220 kV AC up to the HVAC/HVDC distance threshold, 320 kV DC beyond. A DC choice forces HVDC costs and losses. The voltage sets the rating per circuit and so the number of circuits. | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | rating_66 | Rating per circuit, 66 kV AC | MW | 100 |  | yes | advanced |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | rating_132 | Rating per circuit, 132 kV AC | MW | 180 |  | yes | advanced |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | rating_220 | Rating per circuit, 220 kV AC | MW | 300 |  | yes | advanced | RTE Bretagne Sud: about 250 MW per 225 kV circuit. | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | rating_275 | Rating per circuit, 275 kV AC | MW | 450 |  | yes | advanced |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | rating_320dc | Rating per circuit, 320 kV DC | MW | 1000 |  | yes | advanced |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | rating_525dc | Rating per circuit, 525 kV DC | MW | 2000 |  | yes | advanced |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | h2_connection | Hydrogen connection | - | direct | direct, tiein, choose |  |  | Direct: own pipeline to the offtake point. Tie-in: short pipeline to a nearby pipeline with spare capacity. Choose: the model sizes both and keeps the cheaper. | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | tiein_name | Nearby pipeline tie-in point | - | Nearby pipeline |  |  |  |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | tiein_lat | Tie-in latitude | deg | 47.45 |  |  |  |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | tiein_lon | Tie-in longitude | deg | -3.3 |  |  |  |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | tiein_spare_kgh | Spare capacity in the pipeline | kg/h | 20000 |  |  |  |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | tiein_pressure_bar | Pipeline operating pressure | bar | 70 |  |  |  | Compressors deliver hydrogen at this pressure when tying in. | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Connections | tiein_fee_eur | Tie-in cost (hot tap, metering) | EUR | 5000000 |  | yes |  |  | Nearby offshore substations and export cables: EMODnet Human Activities (power cables, wind farms) and the TSO (spare capacity, voltage, access fee). Nearby pipelines: ENTSOG maps and TYNDP, EMODnet pipelines, the gas TSO (spare capacity, operating pressure, tie-in cost). Ratings per circuit are indicative until Step 3.
Technologies | enable_pv | Floating PV | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_ez_off | Electrolyser on the island | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_ez_on | Electrolyser onshore | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_fc_off | Fuel cell on the island | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_fc_on | Fuel cell onshore | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_batt_off | Battery on the island | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_batt_on | Battery onshore | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_tank_off | Hydrogen tank on the island | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_tank_on | Hydrogen tank onshore | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_cable | Electricity export cable | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Technologies | enable_pipe | Hydrogen export pipeline | - | True |  |  |  |  | Project choice: switch off what is not allowed at the site.
Finance | discount_rate | Discount rate (real WACC) | fraction | 0.07 |  |  |  |  | Your financing assumptions (real WACC).
Finance | offshore_premium | Offshore cost premium on island equipment | x | 1.1 |  | yes |  |  | Your financing assumptions (real WACC).
Offshore wind | wind_capex_eur_mw | CAPEX, bottom-fixed | EUR/MW | 2540000 |  | yes |  |  | Danish Energy Agency catalogue for electricity and district heating (updated June 2026); NLR (formerly NREL) Annual Technology Baseline 2025 (fixed-bottom and floating); IRENA Renewable Power Generation Costs.
Offshore wind | wind_capex_floating_eur_mw | CAPEX, floating | EUR/MW | 2540000 |  | yes |  | Placeholder equal to bottom-fixed (v9). Step 3 sets the referenced floating value. | Danish Energy Agency catalogue for electricity and district heating (updated June 2026); NLR (formerly NREL) Annual Technology Baseline 2025 (fixed-bottom and floating); IRENA Renewable Power Generation Costs.
Offshore wind | wind_life | Lifetime | yr | 25 |  |  |  |  | Danish Energy Agency catalogue for electricity and district heating (updated June 2026); NLR (formerly NREL) Annual Technology Baseline 2025 (fixed-bottom and floating); IRENA Renewable Power Generation Costs.
Offshore wind | wind_fom | Fixed O&M, bottom-fixed | fraction/yr | 0.025 |  |  |  |  | Danish Energy Agency catalogue for electricity and district heating (updated June 2026); NLR (formerly NREL) Annual Technology Baseline 2025 (fixed-bottom and floating); IRENA Renewable Power Generation Costs.
Offshore wind | wind_fom_floating | Fixed O&M, floating | fraction/yr | 0.03 |  |  |  |  | Danish Energy Agency catalogue for electricity and district heating (updated June 2026); NLR (formerly NREL) Annual Technology Baseline 2025 (fixed-bottom and floating); IRENA Renewable Power Generation Costs.
Offshore wind | turbine_mw | Turbine rating (for the drawing) | MW | 15 |  |  | advanced |  | Danish Energy Agency catalogue for electricity and district heating (updated June 2026); NLR (formerly NREL) Annual Technology Baseline 2025 (fixed-bottom and floating); IRENA Renewable Power Generation Costs.
Floating PV | pv_capex_eur_kw | CAPEX | EUR/kW | 1500 |  | yes |  |  | Literature and supplier quotes; NLR ATB utility PV as a floor plus a floating premium.
Floating PV | pv_life | Lifetime | yr | 25 |  |  |  |  | Literature and supplier quotes; NLR ATB utility PV as a floor plus a floating premium.
Floating PV | pv_fom | Fixed O&M | fraction/yr | 0.02 |  |  |  |  | Literature and supplier quotes; NLR ATB utility PV as a floor plus a floating premium.
Electrolysis | elec_capex_eur_kw | CAPEX (stack + balance of plant) | EUR/kW | 2000 |  | yes |  |  | Danish Energy Agency catalogue for renewable fuels (updated Feb 2026).
Electrolysis | electrolyzer_efficiency | Efficiency (LHV) | fraction | 0.75 |  |  |  |  | Danish Energy Agency catalogue for renewable fuels (updated Feb 2026).
Electrolysis | elec_life | Lifetime (stack replacement) | yr | 15 |  |  |  |  | Danish Energy Agency catalogue for renewable fuels (updated Feb 2026).
Electrolysis | elec_fom | Fixed O&M | fraction/yr | 0.015 |  |  |  |  | Danish Energy Agency catalogue for renewable fuels (updated Feb 2026).
Electrolysis | area_elec_m2_mw | Deck area | m2/MW | 200 |  |  | advanced |  | Danish Energy Agency catalogue for renewable fuels (updated Feb 2026).
Electrolysis | wt_capex_eur_mw | Water treatment CAPEX | EUR/MW | 20750 |  |  | advanced |  | Danish Energy Agency catalogue for renewable fuels (updated Feb 2026).
Electrolysis | wt_life | Water treatment lifetime | yr | 20 |  |  | advanced |  | Danish Energy Agency catalogue for renewable fuels (updated Feb 2026).
Electrolysis | wt_fom | Water treatment O&M | fraction/yr | 0.1 |  |  | advanced |  | Danish Energy Agency catalogue for renewable fuels (updated Feb 2026).
Compression | comp_p_in_bar | Inlet pressure | bar | 30 |  |  |  |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | comp_p_out_bar | Outlet pressure | bar | 70 |  |  |  |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | comp_isentropic_eff | Isentropic efficiency | fraction | 0.75 |  |  |  |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | comp_stages | Stages | - | 2 |  |  | advanced |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | comp_inlet_temp_k | Inlet temperature | K | 313 |  |  | advanced |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | comp_z | Compressibility factor | - | 1.05 |  |  | advanced |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | comp_gamma | Heat capacity ratio of hydrogen | - | 1.41 |  |  | advanced |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | comp_capex_eur_mw | CAPEX | EUR/MW | 2000000 |  | yes |  |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | comp_life | Lifetime | yr | 20 |  |  |  |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | comp_fom | Fixed O&M | fraction/yr | 0.03 |  |  |  |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Compression | area_comp_m2_mw | Deck area | m2/MW | 100 |  |  | advanced |  | Danish Energy Agency renewable fuels catalogue; supplier data.
Fuel cell | fc_efficiency_lhv | Efficiency (LHV) | fraction | 0.5 |  |  |  |  | Danish Energy Agency technology catalogues; supplier data.
Fuel cell | fc_capex_eur_kw | CAPEX | EUR/kW | 1170 |  |  |  |  | Danish Energy Agency technology catalogues; supplier data.
Fuel cell | fc_life | Lifetime | yr | 15 |  |  |  |  | Danish Energy Agency technology catalogues; supplier data.
Fuel cell | fc_fom | Fixed O&M | fraction/yr | 0.03 |  |  |  |  | Danish Energy Agency technology catalogues; supplier data.
Fuel cell | area_fc_m2_mw | Deck area | m2/MW | 120 |  |  | advanced |  | Danish Energy Agency technology catalogues; supplier data.
Battery | batt_capex_e_eur_mwh | Energy CAPEX | EUR/MWh | 160000 |  |  |  |  | Danish Energy Agency energy storage catalogue (April 2024); NLR ATB utility-scale battery storage.
Battery | batt_capex_p_eur_mw | Power CAPEX | EUR/MW | 5343913 |  | yes |  |  | Danish Energy Agency energy storage catalogue (April 2024); NLR ATB utility-scale battery storage.
Battery | batt_eta | Charge and discharge efficiency (each way) | fraction | 0.95 |  |  |  |  | Danish Energy Agency energy storage catalogue (April 2024); NLR ATB utility-scale battery storage.
Battery | batt_life | Lifetime | yr | 15 |  |  |  |  | Danish Energy Agency energy storage catalogue (April 2024); NLR ATB utility-scale battery storage.
Battery | batt_fom | Fixed O&M | fraction/yr | 0.02 |  |  |  |  | Danish Energy Agency energy storage catalogue (April 2024); NLR ATB utility-scale battery storage.
Battery | batt_vom | Variable O&M | EUR/MWh | 1.19 |  |  |  |  | Danish Energy Agency energy storage catalogue (April 2024); NLR ATB utility-scale battery storage.
Battery | area_batt_m2_mwh | Deck area | m2/MWh | 25 |  |  | advanced |  | Danish Energy Agency energy storage catalogue (April 2024); NLR ATB utility-scale battery storage.
Battery | batt_max_mwh | Largest battery allowed, energy (each site) | MWh | 100000 |  |  | advanced |  | Danish Energy Agency energy storage catalogue (April 2024); NLR ATB utility-scale battery storage.
Battery | batt_max_mw | Largest battery allowed, power (each site) | MW | 20000 |  |  | advanced |  | Danish Energy Agency energy storage catalogue (April 2024); NLR ATB utility-scale battery storage.
Hydrogen tank | tank_capex_eur_kg | CAPEX | EUR/kg | 650 |  |  |  |  | Danish Energy Agency energy storage catalogue; supplier data.
Hydrogen tank | tank_life | Lifetime | yr | 20 |  |  |  |  | Danish Energy Agency energy storage catalogue; supplier data.
Hydrogen tank | tank_fom | Fixed O&M | fraction/yr | 0.02 |  |  |  |  | Danish Energy Agency energy storage catalogue; supplier data.
Hydrogen tank | tank_vom | Variable O&M | EUR/kg | 0.01 |  |  |  |  | Danish Energy Agency energy storage catalogue; supplier data.
Hydrogen tank | area_tank_m2_kg | Deck area | m2/kg | 1.5 |  |  | advanced |  | Danish Energy Agency energy storage catalogue; supplier data.
Hydrogen tank | tank_max_kg | Largest tank allowed (each site) | kg | 5000000 |  |  | advanced |  | Danish Energy Agency energy storage catalogue; supplier data.
Export cable | hvac_hvdc_threshold_km | HVAC up to (beyond: HVDC) | km | 60 |  |  |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | hvac_var_eur_mw_km | HVAC cost per MW per km | EUR/MW/km | 1360 |  | yes |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | hvac_fix_eur_km | HVAC fixed cost per km | EUR/km | 206130 |  | yes |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | hvac_loss_per_km | HVAC loss per km | fraction/km | 6.7e-05 |  |  |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | hvdc_converter_pair_eur_mw | HVDC converter pair | EUR/MW | 300000 |  | yes |  | ACER 2026 median is 0.21 M EUR/MW per station (0.42 per pair); Step 3 updates this. | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | hvdc_cable_eur_mw_km | HVDC cable | EUR/MW/km | 1000 |  | yes |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | hvdc_converter_loss | HVDC converter losses (pair) | fraction | 0.02 |  |  |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | hvdc_cable_loss_per_km | HVDC cable loss per km | fraction/km | 3.5e-05 |  |  |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | tso_fee_eur_mw_yr | TSO grid fee, HVAC export | EUR/MW/yr | 42000 |  |  |  | Annual charge per MW of export cable paid to the transmission operator when the island exports through its own HVAC cable (French offshore scheme: the TSO owns the shore connection). With a hub, the hub access fee replaces it. | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | tso_fee_hvdc_eur_mw_yr | TSO grid fee, HVDC export | EUR/MW/yr | 0 |  |  |  | Same charge for an HVDC export. 0 by default: the converter pair is already in the cable cost. | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | cable_fom_hvac | Fixed O&M, HVAC cable | fraction/yr | 0.005 |  |  |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | cable_fom_hvdc | Fixed O&M, HVDC link | fraction/yr | 0.01 |  |  |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | hvdc_float_premium | Floating converter premium (floating island) | x | 1.5 |  |  |  | Multiplies the HVDC converter cost when the island floats and makes its own power (concept B). | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Export cable | cable_life | Lifetime | yr | 30 |  |  |  |  | ACER unit investment cost indicators (2023 report; 2026 update in preparation); TSO data; Danish Energy Agency transport-of-energy catalogue.
Hydrogen pipeline | pipe_small_capex_eur_km | New 12-inch: cost | EUR/km | 1000000 |  | yes |  |  | European Hydrogen Backbone cost reports; ACER unit investment cost indicators.
Hydrogen pipeline | pipe_small_cap_kgh | New 12-inch: capacity | kg/h | 33264 |  |  |  |  | European Hydrogen Backbone cost reports; ACER unit investment cost indicators.
Hydrogen pipeline | pipe_medium_capex_eur_km | New 36-inch: cost | EUR/km | 3700000 |  |  |  |  | European Hydrogen Backbone cost reports; ACER unit investment cost indicators.
Hydrogen pipeline | pipe_medium_cap_kgh | New 36-inch: capacity | kg/h | 141000 |  |  |  |  | European Hydrogen Backbone cost reports; ACER unit investment cost indicators.
Hydrogen pipeline | pipe_repurposed_capex_eur_km | Repurposed 36-inch: cost | EUR/km | 400000 |  |  |  |  | European Hydrogen Backbone cost reports; ACER unit investment cost indicators.
Hydrogen pipeline | pipe_repurposed_cap_kgh | Repurposed 36-inch: capacity | kg/h | 108000 |  |  |  |  | European Hydrogen Backbone cost reports; ACER unit investment cost indicators.
Hydrogen pipeline | pipeline_efficiency | Delivery efficiency | fraction | 0.99 |  |  |  |  | European Hydrogen Backbone cost reports; ACER unit investment cost indicators.
Hydrogen pipeline | pipeline_life | Lifetime | yr | 40 |  |  |  |  | European Hydrogen Backbone cost reports; ACER unit investment cost indicators.
Hydrogen pipeline | pipeline_fom | Fixed O&M | fraction/yr | 0.009 |  |  |  |  | European Hydrogen Backbone cost reports; ACER unit investment cost indicators.
Island platform | platform_cable_coef | Platform cost per MW of export cable | kEUR/MW | 84.651 |  | yes |  |  | Partner engineering estimates; literature on offshore hubs.
Island platform | platform_elec_coef | Platform cost per MW of island equipment | kEUR/MW | 139.281 |  | yes |  |  | Partner engineering estimates; literature on offshore hubs.
Island platform | platform_install_factor | Installation factor | x | 1.5 |  |  |  |  | Partner engineering estimates; literature on offshore hubs.
Island platform | platform_float_factor | Floating platform factor | x | 2 |  |  |  | Multiplies the platform cost when the island floats and hosts the electrical plant (concept B). | Partner engineering estimates; literature on offshore hubs.
Island platform | platform_life | Lifetime | yr | 25 |  |  |  |  | Partner engineering estimates; literature on offshore hubs.
Island platform | platform_fom | Fixed O&M | fraction/yr | 0.02 |  |  |  |  | Partner engineering estimates; literature on offshore hubs.
Solver | shortfall_penalty_eur_mwh | Penalty for undelivered electricity | EUR/MWh | 3000 |  |  | advanced |  | Keep the defaults unless you know why to change them.
Solver | shortfall_penalty_eur_kg | Penalty for undelivered hydrogen | EUR/kg | 100 |  |  | advanced |  | Keep the defaults unless you know why to change them.
Solver | lhv_h2_kwh_kg | Hydrogen LHV | kWh/kg | 33.3 |  |  | advanced |  | Keep the defaults unless you know why to change them.
Solver | cap_ub_mw | Upper bound on any converter or cable capacity | MW | 5000 |  |  | advanced |  | Keep the defaults unless you know why to change them.
Solver | cap_renewable_ub_mw | Upper bound on wind and PV capacity | MW | 10000 |  |  | advanced | The usable sea area and power densities normally limit wind and PV first. | Keep the defaults unless you know why to change them.

## Site and infrastructure
Item | Unit | Why the planner needs it | Where to get it | Link | Second link
Water depth at the island | m | Sets floating (deeper than the threshold, 60 m by default) or bottom-fixed | EMODnet Bathymetry DTM 2024 (1/16 arc-minute, ~115 m); GEBCO_2026 grid (15 arc-second, public domain) | https://emodnet.ec.europa.eu/geoviewer/ | https://download.gebco.net
Usable sea area | km² | Caps wind and PV capacity through the power densities | National maritime spatial plans; EMODnet Human Activities (wind farm polygons, cables, pipelines); partner GIS | https://emodnet.ec.europa.eu/en/human-activities | https://maritime-spatial-planning.ec.europa.eu
Grid connection point | lat, lon | Sets the export route length and HVAC or HVDC | Your TSO's connection studies; OpenInfraMap (OpenStreetMap data, ODbL); ENTSO-E grid map (positions are schematic) | https://openinframap.org | https://www.entsoe.eu/data/map/
Export cable and pipeline route lengths | km | Computed by the app from the coordinates: shortest sea route on the bundled 1 km coastline (default) or straight line × routing factor. An entered length overrides both | TSO or developer route studies (e.g. RTE for Bretagne Sud) when you have them
Hydrogen offtake or network point | lat, lon | Sets the pipeline length | European Hydrogen Backbone maps (2030 and 2040 routes); ENTSOG TYNDP 2024 hydrogen project maps and lists | https://ehb.eu/page/european-hydrogen-backbone-maps | https://www.entsog.eu/tyndp
Nearby offshore substation or export cable (hub) | lat, lon, MW, kV, EUR/MW/yr | Lets the island connect with a short cable instead of its own link to shore; spare capacity caps the export | EMODnet Human Activities (power cables, wind farms); the TSO or wind farm owner for spare capacity, voltage and fee | https://emodnet.ec.europa.eu/en/human-activities | https://www.entsoe.eu/data/map/
Nearby pipeline for a tie-in | lat, lon, kg/h, bar, EUR | Lets hydrogen leave through a short spur pipeline; spare capacity caps the flow, the pressure sets compression | ENTSOG TYNDP maps and project lists; EMODnet pipelines; the gas or hydrogen network operator | https://www.entsog.eu/tyndp | https://emodnet.ec.europa.eu/en/human-activities
Existing gas pipeline that could be repurposed | yes/no | Allows the cheaper repurposed pipeline class | ENTSOG maps; EMODnet Human Activities (pipelines) | https://www.entsog.eu/tyndp
Protected areas to avoid | map | Not modelled; check before fixing the site and routes | Natura 2000 viewer (EEA) | https://natura2000.eea.europa.eu
Shipping density | map | Not modelled; check route conflicts | EMODnet vessel density (1 km grid, monthly, from 2017) | https://emodnet.ec.europa.eu/en/human-activities

## Data sources
'checked' = seen on the service's official page on 8 October 2026. 'partly checked' = some facts in the row could not be opened and are from secondary sources. Licences and limits change: check before publishing results.
Source | Provides | Time step | Spatial resolution | Coverage | Access | Licence | Formats | Link | Checked on 8 Oct 2026
Open-Meteo historical weather API (ERA5) | Wind speed at 10 and 100 m, irradiance, temperature | Hourly | ERA5 0.25° (~25 km); ERA5-Land 0.1° (no 100 m wind) | ERA5 from 1940, about 5 days behind | No key for non-commercial use (10,000 calls/day); commercial use needs a paid plan | CC BY 4.0 | JSON, CSV, XLSX | https://open-meteo.com/en/docs/historical-weather-api | checked
Copernicus CDS: ERA5 hourly single levels | u/v wind at 100 m, radiation, temperature | Hourly | 0.25° | 1940 to present | Free account; accept the dataset terms; API token in ~/.cdsapirc | CC BY | GRIB, NetCDF | https://cds.climate.copernicus.eu/datasets/reanalysis-era5-single-levels | checked
Renewables.ninja | Simulated hourly wind and PV output per point | Hourly | MERRA-2 0.625° × 0.5°; SARAH 0.05° | Years per dataset not confirmed | Free account and token; 50 requests/hour | CC BY-NC 4.0 (commercial use: ask) | CSV, JSON | https://www.renewables.ninja | checked
PVGIS 5.3 (EU JRC) | Hourly irradiance and PV output | Hourly | SARAH-3 ~4 km; ERA5 ~30 km | 2005–2023; coastline + 25 km offshore | Free, no key | not stated | CSV, JSON | https://re.jrc.ec.europa.eu/pvg_tools/en/ | partly checked
New European Wind Atlas (NEWA) | Mesoscale wind time series | 30 minutes | 3 km | Model run 1989–2018 | Free | not found | NetCDF | https://map.neweuropeanwindatlas.eu | partly checked
Global Wind Atlas 3 | Long-term mean wind and capacity factors (not a time series) | Long-term mean | 250 m | Based on ERA5 2008–2017 | Free | CC BY 4.0 | GeoTIFF | https://globalwindatlas.info | checked
Energy-Charts API (Fraunhofer ISE) | Day-ahead prices by bidding zone | 15 minutes (hourly before Oct 2025) | Bidding zone | Several years | No key; 2 requests/minute | CC BY 4.0 for AT, BE, CH, CZ, DE-LU, DK1, DK2, FR, HU, IT-North, NL, NO2, PL, SE4, SI; other zones private use only | JSON | https://api.energy-charts.info | checked
ENTSO-E Transparency Platform | Day-ahead prices, actual total load | 15 minutes from 1 Oct 2025, hourly before | Bidding zone / country | From 2015 | Free account; API token by email request (within 3 working days) | not found | XML (API), CSV/XLSX (web) | https://transparency.entsoe.eu | partly checked
Energi Data Service (Energinet) | Day-ahead prices DK1, DK2 and neighbours | 15 minutes from 1 Oct 2025; older hourly dataset 'Elspotprices' to Sep 2025 | Bidding zone | 1999 onwards | Free, no key | CC BY 4.0 | JSON, CSV, Excel | https://www.energidataservice.dk/tso-electricity/DayAheadPrices | checked
RTE éCO2mix via ODRÉ (France) | National consumption | 30 minutes (definitive data) | France | 2012–2024 definitive; newer consolidated | Free | Licence Ouverte 2.0 (not checked) | CSV, JSON, Excel | https://odre.opendatasoft.com | partly checked
Open Power System Data: time series | Load, prices, wind and solar profiles | 15/30/60 minutes | 32 countries | 2015 to mid-2020 (last release 2020-10-06) | Free | Mixed by original source | CSV, XLSX, SQLite | https://data.open-power-system-data.org/time_series/ | checked
EMODnet Bathymetry DTM 2024 | Water depth | — | 1/16 arc-minute (~115 m) | European seas | Free | Unrestricted, acknowledgement requested | GeoTIFF, NetCDF, CSV and more | https://emodnet.ec.europa.eu/geoviewer/ | checked
GEBCO_2026 grid | Water depth and elevation | — | 15 arc-second | Global | Free | Public domain | NetCDF, GeoTIFF, Esri ASCII | https://download.gebco.net | checked
EMODnet Human Activities | Cables, pipelines, wind farms, vessel density | Vessel density monthly | 1 km (density) | European seas; density from 2017 | Free | not checked | TIFF, WMS, shapefile | https://emodnet.ec.europa.eu/en/human-activities | checked
Natura 2000 (EEA) | Protected sites | — | Site polygons | End-2024 version | Free | CC BY 4.0 | SHP, GeoPackage, WMS | https://natura2000.eea.europa.eu | checked
European Hydrogen Backbone maps | Planned hydrogen routes 2030 and 2040 | — | Map | Pathway to 2040 | Free to view; shapefiles only with written permission | Copyrighted | PDF, web map | https://ehb.eu/page/european-hydrogen-backbone-maps | checked
ENTSOG TYNDP 2024 | Hydrogen projects, capacities, maps | — | Project level | Final 18 Mar 2026 | Free | not checked | PDF, XLSX annexes, dashboards | https://www.entsog.eu/tyndp | checked
OpenInfraMap | Power lines, substations, pipelines | — | OpenStreetMap detail | Global | Free | ODbL | Web map; extracts via Overpass | https://openinframap.org | checked
Danish Energy Agency technology catalogues | Costs and performance of generation, fuels, storage | — | Technology level | El & DH June 2026; renewable fuels Feb 2026; storage Apr 2024 | Free | not checked | XLSX data sheets | https://ens.dk/en/analyses-and-statistics/technology-data-generation-electricity-and-district-heating | checked
NLR (formerly NREL) Annual Technology Baseline 2025 | Cost projections incl. fixed and floating offshore wind | — | Technology level | 2025 edition | Free | Disclaimer only | XLSX, CSV, Parquet | https://atb.nlr.gov/electricity/2025/data | checked
ACER unit investment cost indicators | Unit costs of grid and hydrogen infrastructure | — | Asset class | 2023 report; 2026 data collection under way | Free | not checked | PDF | https://www.acer.europa.eu | partly checked
IEA 15 MW reference turbine | Power curve used by the built-in wind conversion | — | — | — | Free | Open source | CSV, YAML, XLSX | https://github.com/IEAWindTask37/IEA-15-240-RWT | checked

## Built-in downloads
The app needs internet access for these buttons (Streamlit Community Cloud has it). Without it, upload the series instead.
Series | Where in the app | Service and query | Conversion | Resolution | Notes
Wind capacity factor | Data → Download by coordinates → Get wind and solar | Open-Meteo archive API, model ERA5, at the island coordinates, one calendar year | 100 m wind → 150 m hub height (power law, exponent 0.11) → IEA 15 MW power curve smoothed to farm level (Gaussian, σ = 0.6 + 0.2·v m/s) → 12.5 % losses | Hourly, ~25 km grid | First estimate only; ERA5 slightly smooths peaks. Replace with your own farm model for a project.
Solar capacity factor | same button | Open-Meteo ERA5 global and diffuse irradiance, 2 m temperature, 10 m wind | pvlib: 10° tilt facing the equator, albedo 0.06, Faiman cell temperature with water cooling (u0 = 35), PVWatts −0.35 %/K, 14 % losses | Hourly, ~25 km grid | Floating PV at sea; check wave exposure separately.
Day-ahead price | Data → Download by coordinates → Get prices | Energy-Charts /price endpoint for the chosen bidding zone and year | 15-minute prices averaged to hours; gaps interpolated; 29 February removed | Hourly | The service allows 2 requests per minute; if it is busy, wait a minute. For zones outside the CC BY list the data are for private use only.